## quotation
Image | Name | Model | FCA Shanghai/set
| HHMC Mega Pixel HF C-arm 1. Suit for Peripheral angiography, Limb angiography and organ angiography 2. 16kW 125kV 200mA 3. Toshiba X-ray tube, Rotating anode 4. With DSA function 5. 9" 3 field Thales or Toshiba Image intensifier 6. 19" Medical-grade LCD Monitor 7. With PC workstation 8. With stored energy function 9. Electric arm | HHMC-160 | 58000
| HMC 400 Thousand Pixel HF C-arm 1. Suit for the bony diagnostic, therapy 2. 5kW 120kV 63mA 3. Toshiba X-ray tube, Fixed anode 4. 9" 3 field Thales or Toshiba Image intensifier 5. 14" CRT monitor high definition medical monitor 6. Option: PC workstation | HMC-50G | 21000
| HF Mobile X-Ray Machine 1. 20kW 125kV 200mA 2. Swing arm ±90º 3. Toshiba X-ray tube 4. Remote control exposure handbrake | HM-200 | 18500
| HF Mobile X-Ray Machine 1. 20-25kW 125kV 300mA 2. Swing arm ±90º 3. Toshiba X-ray tube 4. Remote control exposure handbrake | HM-300 | 19000
| Digital Type HF Mobile X-Ray Machine 1. 20kW 125kV 200mA 2. Swing arm ±90º 3. Toshiba X-ray tube 4. Remote control exposure handbrake 5. With DR (Chinese IP board ) | HM-200D | 38500
| With wireless DR (Thales) | HM-200D | 58500
| Digital Type HF Mobile X-Ray Machine 1. 20-25kW 125kV 300mA 2. Swing arm ±90º 3. Toshiba X-ray tube 4. Remote control exposure handbrake 5. With DR (Chinese IP board ) | HM-300D | 39000
| With wireless DR (Thales) | HM-300D | 59000
| HF Mobile X-Ray Machine 1. 3.5kW 110kV 60mA 2. Swing arm ±90º 3. Toshiba X-ray tube 4. Fixed anode 5. Remote control exposure handbrake 6. X-ray tube head lateral & longitudinal turning | HM-32 | 9500
| HF Stationary X-Ray Unit 1. With digital display and Console sync, cassette under the bed with damping function 2. 50kW 150kV 630mA 3. With chest stand 4. Korea X-ray grid 5. Touch screen Console 6. Optional Korea flat detector, achieve digital type | TR-50N | 11500
| On TR-50N base, with Korea IP board | TR50N-DR | 28000
| option: 220V for TR50N |  | 3000
| Dynamic DR System 1. With digital radiography, digital fluoroscopy, digital gastrointestinal, digital angiography function 2. 50kW 150kV 630mA 3. Standard tube made in China 4. Detector type: blue plus CCD 5. Imaging area: 17” x 17” 6. Pixel matrix: 3072x3072 | TR50KW-DD | 97000
| TR-DW40 Option: mobile stand for option |  | 500
| option: 220V for TR50N |  | 3000
| Digital Detector HF Stationary X-Ray Unit 1. Detector type: blue plus CCD 2. 50kW 150kV 630mA 3. Tube focus: 0.6mm/1.2mm 4. Imaging area: 17” x 17” 5. Pixel matrix: 3072x3072 | TR50KW-WT | 39000